# Safety Inspections Policy – Reference Guide

For Recovery Residence Operators in Minnesota

__________________________________________________________________________________________________

## Purpose

This guide outlines safety inspection requirements and recommendations for recovery residences in Minnesota in alignment with Minn. Stat. § 254B.211, Subd. 2(2)(i).

It is intended to be a general guide to help operators maintain compliance and ensure a safe living environment for residents. It is provided for informational purposes only and is not a substitute for professional or legal advice.  This guide may not cover all legal requirements or considerations relevant to your specific residence, and it is strongly recommended that you consult with a qualified attorney or legal expert to ensure that your policy is appropriate for your particular needs and complies with all applicable laws and regulations.

Please note that laws and regulations may vary by jurisdiction. It is your responsibility to ensure compliance with all relevant laws and seek legal counsel as needed.

| POLICY SECTION | POLICY DESCRIPTION |
| --- | --- |
| Safety inspections | Policy must outline when inspections occur. This may include: prior to admitting residents or beginning operations how routine inspections will be conducted to ensure continued compliance with safety standards what events may trigger additional inspections such as complaints, safety incidents or significant changes to property or occupancy Policy must identify who conducts inspections such as a property manager, trained staff or third-party inspector if preferred. Policy should indicate that local authorities (e.g., fire marshal, building inspector) may conduct inspections as required by local ordinances or state law. |
| Carbon monoxide and smoke detectors | Policy must include inspection frequency. This may include monthly tests to ensure functionality and power source, in addition to indicating when batteries and full unit replacements will be completed according to manufacturer guidelines. Policy should include verification that detectors are installed in accordance with Minnesota state law in appropriate locations (e.g., near sleeping areas). |
| Fire extinguishers | Policy must include how often fire extinguishers are checked. Policy should also include fire extinguisher placement, ensuring they are readily accessible in key areas such as kitchens or near exits, by whom they are inspected and when they will be recharged or replaced. |
| Documentation and recordkeeping | Policy should include how documentation and recordkeeping of safety inspections will be maintained and where documentation will be kept. |
| Policy review | Policy should include when the safety inspection policy will be reviewed and updated. |